Solar & Battery Projects (only required for Solar & Battery projects)

Solar panels can be an effective method of reducing electricity costs, but there are some limitations that can affect the feasibility of solar projects at certain sites. Please complete this form to demonstrate that consideration has been given to these factors.

Sunlight availability

Shading - Does the proposed site have any shading from nearby trees or buildings?

Orientation – What orientation is the solar mounting surface (e.g NW, SE)

Electricity usage profile

When is most of the electricity used at the site? If the usage is mainly not during daylight hours, are you considering a battery?

Space and structural requirements

Has the roof, or other mounting surface, been assessed to be structurally suitable for the addition of solar panels?

Electrical infrastructure suitability

Has the electrical switchboard been assessed to be suitable for the additional load and requirements of solar? Are there any upgrades to the electrical infrastructure required?